Factory Built/Zero Clearance Wood Burning Fireplace or Wood Stove

- No fire loss history associated with factory built/”Zero Clearance” wood burning fireplaces or wood stoves

- The condominium association does not maintain cordwood supplies on premises for use by unit owners or short term renters

- The condominium association maintains a labeled/signed  covered metal ash/cinder disposal receptacle on site located at least 50 feet from any building

- All fireplaces, stoves and chimneys have been subject to a Level II chimney inspection within the last 3 years and found to be in safe operating condition

- The condominium association or property manager has demonstrated a commitment to hazard free chimneys and wood burning fireplaces by taking the following actions:

  - Assume full responsibility for annual cleaning of chimneys and the tri-annual Level II inspection

  - Identify these activities as specific expense line items in the association budget

  - If any chimney or woodstove is identified by the Level II inspection as unsafe,  documentation is provided confirming that the following actions have been taken:

    - Wood stoves found to be unsafe have been removed and/or replaced

    - Wood stove chimneys found to be unsafe have been replaced

    - Zero clearance fireplace/chimney assemblies found to be unsafe have been taken out of service with a non-combustible barrier mechanically attached to the fireplace opening to fully block the opening and render the unit unusable or the zero clearance wood burning fireplace has been professionally converted to a direct vented gas/propane fireplace.